## Worksheet
Survey Report
Gram Panchayat Name : Buddamarri Tanda | [6 empty] | Mandal Name : Dhanwada | [7 empty] | District Name: Narayanpet
[5 empty] | Existing | [9 empty] | Suggested
Sr.No | Created Date | Location/Area (with landmark) | GPS LOCATION |  | Pole No | Road Width in feets | Road configuration as per NLC | Switch point No/ Type of switch point (3-Ph/1-Ph) | Mounting arrangement of Poles |  |  | Height of the pole (mtrs.) | Pole spacing (mtrs.) | Types of fixtures | Fixture Wattage (W) | Warranty for Existing LED Fixtures if any | Condition of underground Cable (Working/ Damaged), if applicable | Earth Condition | Arms and Clamps Required (Yes/ No) | Dedicated Streetline Available (Yes/ No) | Network Issues |  | Suggested LED Wattage (18/ 35/70/110/190 W) | Remarks, if any | Maker Name | Pole Id
[9 empty] | Type of Pole |  | Pole arrangement
|  |  | Lattitude | Longitude |  |  |  |  | Concrete/ Iron | Others(Wall mount, Wooden, etc) | One Sided/ Central | [9 empty] | Is the safe distance maintained between HT Lines - LED Lights | Is there any tree Obstructions
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
1 | 09/11/2022 | near government primary school | 16.715 | 77.7493 | 280514A01 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107680
2 | 09/11/2022 | beside government primary school | 16.715 | 77.7491 | 280514A02 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107682
3 | 09/11/2022 | near shivani house | 16.7151 | 77.7489 | 280514A03 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107683
4 | 09/11/2022 | near gram panchayat office | 16.7151 | 77.7487 | 280514A04 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 35 W | no remark | Bajaj | 107685
5 | 09/11/2022 | near raju house | 16.7152 | 77.7485 | 280514A05 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107688
6 | 09/11/2022 | beside janya nayak | 16.7153 | 77.7484 | 280514A06 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107690
7 | 09/11/2022 | near k.shankar nayak house | 16.7154 | 77.7482 | 280514A07 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,no | yes | yes | NO | 70 W | no remark | Other | 107701
8 | 09/11/2022 | near k.shankar nayak house | 16.7154 | 77.7482 | 280514A07 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107702
9 | 09/11/2022 | near shankar nayak house | 16.7154 | 77.7481 | 280514A08 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107704
10 | 09/11/2022 | beside shankar nayak house | 16.7155 | 77.7479 | 280514A09 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107705
11 | 09/11/2022 | near raju nayak house | 16.7156 | 77.7476 | 280514A10 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 35 W | no remark | Bajaj | 107706
12 | 09/11/2022 | near gubriya nayak land | 16.7157 | 77.7474 | 280514A11 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107708
13 | 09/11/2022 | near chandra nayak land | 16.7158 | 77.7473 | 280514A12 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 35 W | no remark | Bajaj | 107711
14 | 09/11/2022 | near govind nayak land | 16.7159 | 77.7472 | 280514A13 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107712
15 | 09/11/2022 | near hanuman temple | 16.716 | 77.747 | 280514A14 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 35 W | no remark | Bajaj | 107715
16 | 09/11/2022 | near angur nayak house | 16.7156 | 77.7482 | 280514A15 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 100 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107719
17 | 09/11/2022 | opposite govindhu house | 16.7158 | 77.7483 | 280514A16 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107721
18 | 09/11/2022 | near gopal house | 16.716 | 77.7483 | 280514A17 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107723
19 | 09/11/2022 | beside k.laxman nayak house | 16.716 | 77.7479 | 280514A18 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 25 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107725
20 | 09/11/2022 | opposite tulicha nayak house | 16.7162 | 77.7482 | 280514A19 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 25 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107727
21 | 09/11/2022 | opposite k.ravi nayak house | 16.7167 | 77.7483 | 280514A20 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107730
22 | 09/11/2022 | opposite k.purya nayak house | 16.7169 | 77.7483 | 280514A21 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107732
23 | 09/11/2022 | opposite k.laxman nayak | 16.7171 | 77.7483 | 280514A22 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107734
24 | 09/11/2022 | near ram nayak house | 16.7171 | 77.7482 | 280514A23 | 12 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107736
25 | 19/11/2022 | near gonya nayak house | 16.7219 | 77.7536 | 280514A24 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | N/A | N/A | N/A | -NA- | No | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | - | Bajaj | 108786
26 | 19/11/2022 | Near temple road | 16.7223 | 77.7537 | 280514A25 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | N/A | N/A | N/A | -NA- | No | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | - | Bajaj | 108787
27 | 19/11/2022 | near temple road | 16.7224 | 77.7539 | 280514A26 | 15 ft | yes | 1/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | N/A | N/A | N/A | -NA- | No | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | - | Bajaj | 108788
28 | 10/11/2022 | opposite manikhyama house | 16.717 | 77.7485 | 280514B01 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107798
29 | 10/11/2022 | opposite sithya nayak | 16.7168 | 77.7484 | 280514B02 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107802
30 | 10/11/2022 | near ravi house | 16.7167 | 77.7484 | 280514B03 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107809
31 | 10/11/2022 | near hanmanthu house | 16.7165 | 77.7485 | 280514B04 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107811
32 | 10/11/2022 | near raju house | 16.7163 | 77.7485 | 280514B05 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 35 W | no remark | Bajaj | 107815
33 | 10/11/2022 | near hanmya nayak | 16.7161 | 77.7485 | 280514B06 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107822
34 | 10/11/2022 | near ramesh nayak | 16.7158 | 77.7485 | 280514B07 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107824
35 | 10/11/2022 | near janya nayak | 16.7155 | 77.7485 | 280514B08 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107827
36 | 10/11/2022 | opposite laxmi bhai house | 16.7157 | 77.7487 | 280514B09 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107831
37 | 10/11/2022 | opposite salamma house | 16.7163 | 77.7489 | 280514B10 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107833
38 | 10/11/2022 | near pandu house | 16.7165 | 77.7488 | 280514B11 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107834
39 | 10/11/2022 | opposite bal singh nayak house | 16.717 | 77.7489 | 280514B12 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107838
40 | 18/11/2022 | near laxman nayak house | 16.7168 | 77.7486 | 280514B13 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 108782
41 | 18/11/2022 | near ravi house | 16.7166 | 77.7485 | 280514B14 | 12 ft | yes | 2/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 108783
42 | 10/11/2022 | near narya nayak house | 16.7226 | 77.7548 | 280514C01 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 5000 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107877
43 | 10/11/2022 | near narya nayak land | 16.7225 | 77.7544 | 280514C02 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107880
44 | 10/11/2022 | near badriya nayak house | 16.7224 | 77.7542 | 280514C03 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107885
45 | 10/11/2022 | near shevili bhai house | 16.7224 | 77.7541 | 280514C04 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107888
46 | 10/11/2022 | near munyama house | 16.7223 | 77.7538 | 280514C05 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | No | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107890
47 | 10/11/2022 | near lingya nayak house | 16.722 | 77.7538 | 280514C06 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107893
48 | 10/11/2022 | near tikya nayak | 16.7218 | 77.7538 | 280514C07 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107895
49 | 10/11/2022 | near gonya nayak house | 16.7216 | 77.7536 | 280514C08 | 12 ft | yes | 3/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107897
50 | 10/11/2022 | near transformer | 16.7252 | 77.7528 | 280514D01 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 2000 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107911
51 | 10/11/2022 | near keshya nayak house | 16.7254 | 77.7527 | 280514D02 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107913
52 | 10/11/2022 | beside tikya nayak house | 16.7257 | 77.7525 | 280514D03 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | No | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107915
53 | 10/11/2022 | near hanuman temple | 16.7257 | 77.7524 | 280514D04 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107917
54 | 10/11/2022 | near danjya nayak house | 16.726 | 77.7523 | 280514D05 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107919
55 | 10/11/2022 | near tikya nayak | 16.726 | 77.7524 | 280514D06 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107922
56 | 10/11/2022 | near govind nayak house | 16.7263 | 77.7522 | 280514D07 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107924
57 | 10/11/2022 | near shankar nayak house | 16.7265 | 77.7521 | 280514D08 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107925
58 | 10/11/2022 | near pithya nayak house | 16.7267 | 77.7521 | 280514D09 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107928
59 | 10/11/2022 | near transformer | 16.727 | 77.752 | 280514D10 | 12 ft | yes | 4/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107930
60 | 10/11/2022 | near water tank | 16.7345 | 77.7511 | .280514E01. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 2000 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107946
61 | 10/11/2022 | opposite virender house | 16.7343 | 77.751 | .280514E02. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107949
62 | 10/11/2022 | backside virender house | 16.7341 | 77.7509 | .280514E03. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107951
63 | 10/11/2022 | near gobriya nayak house | 16.7344 | 77.7507 | .280514E04. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | No | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107953
64 | 10/11/2022 | near government primary school | 16.7336 | 77.7486 | .280514E05. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 1000 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107959
65 | 10/11/2022 | near water tank | 16.7339 | 77.7486 | .280514E06. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | No | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107960
66 | 10/11/2022 | near water tank | 16.7342 | 77.7485 | .280514E07. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107963
67 | 10/11/2022 | near dikhya nayak house | 16.7343 | 77.7482 | .280514E08. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107964
68 | 10/11/2022 | opposite tikya nayak house | 16.7346 | 77.7485 | .280514E09. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107965
69 | 10/11/2022 | backside hanmanthu house | 16.7348 | 77.7485 | .280514E10. | 12 ft | yes | 5/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107966
70 | 10/11/2022 | near balu house | 16.7194 | 77.7424 | 280514F01 | 12 ft | yes | 6/ 1-Ph | Concrete | -NA- | One Sided | 8 | 5000 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107967
71 | 10/11/2022 | near hanmanthu house | 16.7191 | 77.7426 | 280514F02 | 12 ft | yes | 6/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107968
72 | 10/11/2022 | near narya nayak house | 16.7188 | 77.743 | 280514F03 | 12 ft | yes | 6/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107969
73 | 10/11/2022 | near hanuman temple | 16.7189 | 77.7429 | 280514F04 | 12 ft | yes | 6/ 1-Ph | Concrete | -NA- | One Sided | 8 | 15 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107970
74 | 10/11/2022 | backside laxman nayak house | 16.7188 | 77.7424 | 280514F05 | 12 ft | yes | 6/ 1-Ph | Concrete | -NA- | One Sided | 8 | 30 | LED | 0 | 0 | -NA- | Yes | yes,25mm Dia 1.2mt | yes | yes | NO | 18 W | no remark | Bajaj | 107971
Vendors representative | [5 empty] | TSREDCO representative | [5 empty] | EESLs representative | [6 empty] | TS Pr and RE representative
Name: | [5 empty] | Name: | [5 empty] | Name: | [6 empty] | Name:
Designation: | [5 empty] | Designation: | [5 empty] | Designation: | [6 empty] | Designation:
Signature: | [5 empty] | Signature: | [5 empty] | Signature: | [6 empty] | Signature: